Title: System Design

Course title: IOT Laboratory

Course code: CSE-460

4th Year 1st Semester Examination 2025

Date of Submission: 03/May/2026

Submitted to-

Dr. Md. Ezharul Islam, B.SC.(JU), M.ENGG.(JAPAN), PHD(JAPAN)

Professor

Department of Computer Science and Engineering

Jahangirnagar University

&

Samsun Nahar Khandakar

Assistant Professor

Department of Computer Science and Engineering

Jahangirnagar University

Savar, Dhaka-1342

| Class Roll | Exam Roll | Name |
| --- | --- | --- |
| 383 | 210903 | Abdullah Nazmus-Sakib |
| 379 | 210899 | Shah Sultan |
| 391 | 210911 | Md Khaled Mahmud |

Chapter 7: System Design

7.1 System Architecture Design

The system architecture of the IoT-Based Smart Patient Turning and Bed Monitoring System is designed using a layered approach to ensure modularity, scalability, and real-time responsiveness.

The architecture consists of the following layers:

### 1. Sensing Layer

This layer is responsible for collecting real-time physical data from the patient and environment.

- Pressure Sensors (FSR / Load Cell): Placed under different sections of the mattress to detect body pressure distribution.

- DHT22 Sensor: Measures temperature and humidity around the patient.

These sensors continuously capture raw analog/digital signals.

### 2.  Processing Layer

- The ESP32 microcontroller acts as the core processing unit.

- It performs:

  - Sensor data acquisition

  - Data filtering and preprocessing

  - Time-based immobility tracking

  - Decision-making for alert triggering

### 3.  Communication Layer

- ESP32 uses Wi-Fi module to transmit data.

- Data is sent to cloud platforms such as:

  - Firebase

  - Blynk IoT

This layer ensures real-time data availability for remote monitoring.

### 4.  Application Layer

- Mobile application/dashboard displays:

  - Pressure values

  - Temperature & humidity

  - Alert status

- Caregivers receive notifications in real-time.

### 5. Alert & Actuation Layer

- Buzzer: Provides local alerts.

- Optional Servo Motor: Enables automatic bed tilting for patient repositioning.

## 7.2 Block Diagram Explanation

As shown in the block diagram , the system integrates multiple components into a unified workflow.

### Key Functional Flow:

- Pressure and environmental data are collected via sensors.

- Data is sent to ESP32 for processing.

- Processed data is:

  - Sent to cloud

  - Used for decision-making

- If abnormal conditions are detected:

  - Buzzer is activated

  - Notification is sent to mobile app

### Key Components:

- Input: Pressure sensors, DHT22

- Controller: ESP32

- Output: Buzzer, LCD (optional), Mobile App

- Communication: Wi-Fi module

## 7.3 Circuit Design

According to the circuit diagram  , the hardware connections are implemented as follows:

### Sensor Connections:

- FSR Sensors → Connected to ESP32 ADC pins (analog input)

- DHT22 → Connected to digital GPIO pin

### Output Connections:

- Buzzer → Connected to GPIO output pin

- LCD Display (optional) → Connected via I2C interface

### Power Supply:

- ESP32 powered by 5V adapter

- Sensors operate at 3.3V

## 7.4 Data Flow Design

The system follows a continuous real-time data flow:

### Step-by-Step Data Flow:

- Sensors collect pressure, temperature, and humidity data.

- ESP32 reads sensor values at regular intervals.

- Data is processed and analyzed.

- Decision logic checks:

  - If patient is immobile for threshold time (e.g., 2–3 hours)

- If condition is met:

  - Alert is triggered

- Data is uploaded to cloud

- Mobile app displays real-time updates

## 7.5 Algorithm Design

The system uses a rule-based algorithm for monitoring:

### Algorithm Steps:

- Initialize sensors and Wi-Fi connection

- Continuously read sensor values

- Calculate pressure distribution

- Track time duration of same position

- IF (time > threshold):

  - Trigger buzzer

  - Send alert notification

- Upload data to cloud

- Repeat loop

## 7.6 Database Design (Cloud Storage)

The cloud database (Firebase/Blynk) stores:

### Data Fields:

- Patient ID

- Timestamp

- Pressure values (multiple sensors)

- Temperature

- Humidity

- Alert status

### Features:

- Real-time synchronization

- Historical data tracking

- Remote access

## 7.7 User Interface Design

The mobile application provides:

### Dashboard Features:

- Live pressure monitoring

- Temperature & humidity display

- Alert notification system

- Patient status (Normal / Alert)

### UI Characteristics:

- Simple and user-friendly

- Real-time updates

- Accessible for caregivers

## 7.8 Power Management Design

- System uses 5V/12V regulated power supply

- ESP32 regulates to 3.3V internally

- Efficient power usage ensures:

  - Continuous monitoring

  - Low energy consumption

7.9 System Constraints & Design Considerations

- Real-time processing requirement

- Sensor accuracy and calibration

- Stable internet connectivity

- Low-cost hardware design

- Patient safety and reliability

## Summary of System Design

The system design integrates:

- Hardware (sensors + ESP32)

- Software (algorithm + cloud)

- Communication (Wi-Fi)

- User interface (mobile app)

This ensures a complete IoT-based healthcare monitoring solution that is:

- Real-time

- Automated

- Scalable

- Cost-effective